## CONTENTS

**1.0 Personal Protection and Related Equipment**

**2.0 Barricades and Hole Covers)**

**3.0 Fire Prevention and Protection**

**4.0 Excavations**

**5.0 Compressed Gas Cylinders**

**6.0 Housekeeping**

**7.0 Ladders and Scaffolds**

**8.0 Rigging**

**9.0 Welding and Cutting**

**10.0 Tools**

**11.0 Industrial Hygiene and Occupational Health**

**12.0 Motor Vehicles and Mechanized Equipment**

**13.0 Hazard Communication**

**14.0 Safety Responsibilities**

**15.0 Environmental Statement**

**16.0 Written Programs**

In order for a safety program to be effective, it is vital that rules are established and monitored by responsible individuals, and implemented at all levels of employment.

The following are some of the general rules applicable to our operations that must be enforced on every project contracted by our company. This is a partial listing only. The pertinent requirements of OSHA Regulations FCR29, Part 1926 Safety and Health Regulations for Construction with CFR29 Part 1920 Identified as Applicable to Construction, the Clean Air Act, and others also apply to this firm's operations.

The majority of the work performed by Wagner-Meinert, LLC is done on site. This is to say that the physical property is managed by someone other than Wagner-Meinert, LLC It is imperative that our employees adhere to the safety policies of our customers. In those instances where the policies of Wagner-Meinert. Inc. are more stringent than the policies in effect on site, Wagner-Meinert, LLC employees and sub-contractors are required to adhere to the policies of Wagner-Meinert, LLC

**1.0 Personal Protection and Related Equipment**

1.1 Personal protective equipment must be worn by employees as prescribed for each job by the supervisor.

1.2 Employees must check with their supervisor(s) regarding any portion(s) of their job that they do not understand. **DO NOT ATTEMPT AN OPERATION WITHOUT FIRST IDENTIFYING THE DANGERS OF THE OPERATION.**

1.3 Goggles, face shields, safety glasses, and other equipment shall meet the eye and face protection needs of the employee for each task.

1.4 Hard hats must be worn when required by all employees at all times in all work areas.

1.5 Gloves are to be used when handling materials, and for protection against acids and other chemicals which could injure employees skin.

1.6 Respiratory equipment in many cases is needed for protection against toxic and hazardous fumes and dust. Employees must verify with their supervisors which equipment meets the need for breathing safety. Employees engaged in Emergency Response activities are required to have a minimum of 24 hours training and 8 hours of refresher training (annually).

1.7. Safety shoes are recommended to help prevent toe and foot injuries.

1.8 The use of Full Body Harnesses is required when working on elevated work where there is no guardrail protection and on certain suspended scaffolds.

1.9 Employees are expected to utilize proper judgment in their personal habits. When they report to work each morning they must be in fit condition to meet daily obligations.

1.10 Be aware of what all subcontractors are doing and what hazards they are creating.

**2.0 Barricades and Hole Covers**

2.1. Excavations and openings in working surfaces must be protected with barricades or hole covers.

2.2 Barricades and/or signs shall always be provided as warning of hazards such as overhead work, crane swing, and excavations.

2.3 When a hole or floor opening is created during the performance of a work activity, it shall be protected with a standard railing.

2.4 Floor openings shall be guarded by a standard railing and toe boards on all exposed sides except at entrance to stairways.

**3.0 Fire Prevention and Protection**

3.1 Wagner-Meinert, LLC personnel are have annual training in incipient stage fire fighting and its hazards. The use of different types of portable fire extinguishers.

3.2 Wagner-Meinert, LLC has an active Hot Work Permit Program as do the majority of our customers. Always follow Hot Work procedures when welding, cutting, or using any equipment when may supply an ignition source.

3.3 When utilizing heat producing equipment, make sure that the area is clear of all fire hazards and that all sources of potential fires are eliminated.

3.4 Do not use a salamander or other open flamed device in confined or enclosed structures.

3.5 Vent heaters to the atmosphere and make sure they are located an adequate distance from walls, ceilings and floor.

3.6 Have fire extinguishers available at all times where heat-producing equipment is used.

3.7 Know the location of fire fighting equipment in the work area and have knowledge of its use and application in case of fire.

3.8 Fire extinguishers are checked monthly and documented. Turn in all fire extinguishers for recharge after each use. Make sure the extinguishers you have are rated for the environment you will be working in. These records will be kept on file for one year after inspection date.

**4.0 Excavations**

4.1 Wagner-Meinert employees do not do excavation work, but work around excavations at times. Safety awareness for all of our employees

4.2 Excavations, trenches or cuts more than 5 feet in depth require shoring, sloping of the ground or some other hold-back means.

4.3 Excavations must be checked daily by a competent person for cracks, slides and scaling. During rain, snow and other hazardous weather conditions, checks should be performed more often.

4.4 Heavy equipment must be kept back from edges of all excavations.

4.5 An adequate means of exit for excavations 4 feet or more in depth (ladders or steps) should be located within 25 feet or lateral travel.

4.6 Excavated or other material must be stored at least 2 feet or more from the edge of the excavation.

4.7 Underground installations.

4.8 Exposure to vehicular traffic. Employees exposed to public vehicular traffic shall be provided with, and shall wear, warning vests or other suitable garments marked with or made of reflectorized or high-visibility material.

4.9 Exposure to falling loads. No employee shall be permitted underneath loads handled by lifting or digging equipment. Employees shall be required to stand away from any vehicle being loaded or unloaded to avoid being struck by any spillage or falling materials. Operators may remain in the cabs of vehicles being loaded or unloaded when the vehicles are equipped, in accordance with 1926.601(b)(6), to provide adequate protection for the operator during loading and unloading operations.

4.10 Hazardous atmospheres – (See 04 WMI-Permit Required Confined Space Entry Program.pdf) Page 5.

4.11 Employees shall not work in excavations in which there is accumulated water, or in excavations in which water is accumulating, unless adequate precautions have been taken to protect employees against the hazards posed by water accumulation. The precautions necessary to protect employees adequately vary with each situation, but could include special support or shield systems to protect from cave-ins, water removal to control the level of accumulating water, or use of a safety harness and lifeline.

4.12 A registered professional engineer has approved the determination that the structure is sufficiently removed from the excavation so as to be unaffected by the excavation activity; or a registered professional engineer has approved the determination that such excavation work will not pose a hazard to employees.

4.13 Walkways shall be provided where employees or equipment are required or permitted to cross over excavations. Guardrails which comply with 1926.502(b) shall be provided where walkways are 6 feet (1.8 m) or more above lower levels.

4.14 The determination of soil types & special considerations must be done in specific measures. Shoring, sloping, shield & excavation as needed. Timber shoring, aluminum hydraulic shoring must determined according to the appendixes A & C of the standard. The devices should be used while in good repair & maintenance; if damaged, they must be inspected. The employees should be protected from hazards of falling, rolling, or sliding materials or equipment. They should not be subjected to excessive forces and be installed to protect employees from lateral loads, employees must be restricted from being in the shield when installing or removing; the shield must be designed to resist calculated trench forces.

**5.0 Compressed Gas Cylinders**

5.1 All gas cylinders shall have their contents clearly marked on the outside of each cylinder.

5.2 Cylinders must be placed and secured in an upright position, with valve protection caps in place, during storage and transfer.

5.3 Cylinder valves must be protected with caps or guards when not in use.

5.4 All leaking or defective cylinders must be removed from service promptly, tagged as inoperable and placed in an open space removed from the work area.

5.5 All operators are required to inspect equipment regulators to ensure they are in proper working order.

5.6 Oxygen and gas cylinders placed in storage are to be kept 20 feet apart or have the fire barrier between them.

5.7 Full and empty cylinders are to be stored separately and protected from excess heat, snow, ice or physical damage. Tag all cylinders when empty.

5.8 All cylinders are to be secured with a minimum of two chains. Tie wire is not appropriate for cylinder storage. Chains are not to be tied around the neck of the cylinder.

**6.0 Housekeeping**

6.1 Proper housekeeping is the foundation for a safe work environment. It prevents accidents and fires, and creates a business-like work area.

6.2 Pile or store material in a stable manner so that it will not be subject to falling.

6.3 Rubbish, scraps and debris shall be removed from the work area as soon as practical.

6.4 Do not leave materials and supplies in stairways, walkways, near floor openings or at the edge of the building when exterior walls are not build.

6.5 Containers for flammable or harmful substances shall be provided with covers.

6.6 Never block safety signs.

**7.0 Ladders and Scaffolds**

7.1 Use of ladders with broken or missing rungs or steps, broken or split side rails, or with other faulty or defective construction is prohibited.

7.2 Straight ladders shall be placed on a firm base at a 4-1 pitch extending a minimum of 36 inches above the landing and be tied off, held or nailed down for stability.

7.3 Erection crews must check each scaffold member during erection defective parts are not to be used for scaffold fabrication.

7.4 All working decks of scaffolds shall be provided with proper handrails, midrails and toeboards. If this is not possible, then full safety harnesses must be worn by employees working on the scaffold.

7.5 Planks shall extend over the end supports by not less than 6 inches nor more than 12 inches.

7.6 Tube and frame scaffolds must be tied to the structure at intervals of 30 feet horizontally and 26 feet vertically.

7.7 The height of mobile scaffolds shall not exceed four times the minimum base dimension. Casters shall have positive locking devices.

**8.0 Rigging**

8.1 Rigging is essential for moving construction materials and equipment and, at the same time, keeping them under control.

8.2 Never swing loads over the heads of workers in the area.

8.3 Only trained flagmen and signalmen are to direct rigging operations, using established hand signals that are standard for the industry.

8.4 Tag lines must be used to control rigged loads.

8.5 Do not overload any part of your rigging. Check loads just off the ground for balance and stability before hoisting.

8.6 Never leave a suspended load unattended.

8.7 Never allow loads, booms or rigging to approach within 10 feet of energized electrical lines rated 50KV or lower unless the lines are de-energized. For lines rated greater than 50 KV, follow OSHA regulations.

8.8 Always operate cranes on firm, level ground or use mats, particularly for near-capacity lifts.

8.9 Rope off or barricade a space equivalent to the swing radius of the rear of the rotating structure 360 degrees around all cranes operating on your jobsite.

**9.0 Welding and Cutting**

9.1 Wagner-Meinert, LLC has an active Hot Work Permit Program as do the majority of our customers. Always follow Hot Work procedures when welding, cutting, or using any equipment when may supply an ignition source.

9.2 Always clear area below cutting or welding operations to keep hot slag from dropping on hoses, cables or employees.

9.3 Use properly shaded welding helmets and burning goggles for eye protection and to prevent flash burns. Always wear eye protection to guard against slag while chipping, grinding and dressing welds.

9.4 Use only manual electrode holders specifically designed for arc welding.

9.5 Make sure that all parts subject to electrical current are fully insulated against the maximum voltage to ground.

9.6 Make sure that the ground return cable has a safe current carrying capacity equal to, or exceeding, the specified maximum output capacity of the arc welding unit that it services.

9.7 Make sure welding lugs are covered with approved covers.

9.8 Place cables, leads and connections so that there are no fire or tripping hazards.

9.9 Shield all arc welding and cutting operations with noncombustible or flameproof screens to protect employees, and others from direct arc rays.

9.10 Keep suitable fire extinguisher readily available when welding or cutting.

9.11 Be sure that proper ventilation is provided whenever welding, cutting or heating operations are performed in a confined space.

9.12 Gas drive welders should only be used in well ventilated areas.

9.13 Remove electrical cords from the splatter area to prevent the burning of the wire insulation.

**10.0 Tools**

10.1 It is important that the right tool is used for the job and that it is used in a correct manner.

10.2 Keep tools in good working condition. Tag all defective tools. Damaged, worn or defective tools can cause injuries and should be returned to the shop for repairs as soon as possible.

10.3 Do not use tools until you have been properly instructed and authorized to do so.

10.4 Never remove machinery or equipment guards. They are there for a purpose.

10.5 Tag and return defective tools for repair by qualified employees.

10.6 Inspect electrical extension cords and other wiring to be certain they are properly insulated. Do not use frayed or damaged cords.

10.7 Take special precautions when using power tools on a scaffold or other locations with limited movement area. Get good footing, use both hands, keep cords clear or obstructions, and do not over-reach.

10.8 Be sure that a power tool is off and motion stopped before setting tool down.

10.9 Disconnect tool from power source before changing drills, blades or bits or attempting repair or adjustment. Never leave a running tool unattended.

10.10 Do not use compressed air for cleaning purposes except when pressure is reduced to less than 30 psi and then only with proper personal protective equipment.

**11.0 Industrial Hygiene and Occupational Health**

11.1 Potable water shall be provided at all sites in approved closed containers with disposable cups.

11.2 Toilets with self-closing doors, latch, and toilet paper shall be provided as required for the number of workers on the jobsite.

11.3 First aid kits must be provided at each jobsite, and if a medical facility is not readily accessible, then a person with a valid First Aid Certificate must be present.

11.4 Employees must be protected against exposure to harmful sound levels by controlling exposure or by use of the proper personal protective equipment.

11.5 Employees must be protected against exposure to ionizing (x-ray, radioactive) and non-ionizing (laser beam) radiation.

11.6 Protection against exposure to harmful gases, fumes, dust, and similar airborne hazards must be furnished through proper ventilation or personal respiratory equipment.

**12.0 Motor Vehicles and Mechanized Equipment**

12.1 All equipment left unattended at night adjacent to highways or construction areas shall have lights, reflectors, and/or barricades to identify location of the equipment.

12.2 Operator personnel shall inspect all machinery and equipment prior to each use, and during use to make sure it is in safe operating condition.

12.3 Rated load capacities and recommended rules of operation shall be conspicuously posted on all equipment at the operator's station.

12.4 Wire rope with broken wires or evidence of wear, kinking, crushing, hoist caging or heat damage shall be taken out of service.

12.5 An accessible fire extinguisher of 5 BC rating or higher shall be available at all operator stations.

12.6 When vehicles or mobile equipment are stopped or parked, parking brakes shall be set. Equipment parked on inclines shall have wheels choked as well as having parking brakes set.

12.7 All vehicles or combinations of vehicles shall be checked at the beginning of each shift for safe operating condition of all mechanical and safety systems.

12.8 Maintain vehicles and equipment at specified intervals in accordance with the maintenance manual provided by the manufacturer. Vehicles are equipped with seat belts and are used by drivers and passengers when vehicle is in motion.

12.9 Operators shall not back up motorized equipment having an obstructed rear view unless the vehicle has an audible reverse signal alarm or when an observer signals that it is safe to do so.

12.10 Vehicles are not to be operated while under the influence of alcohol, medication, or controlled substances.

**13.0 Hazard Communication**

13.1 Employees have been informed of the requirements of the OSHA Hazard Communication Standard and any operations in their area where hazardous chemicals are present.

13.2 Employees are aware of the location and availability of the company written hazard communication program and location of the list(s) of hazardous chemicals present at the jobsite.

13.3 Material Safety Data Sheets (MSDSs) are available for all chemicals used and employees know where these MSDSs are kept.

13.4 All containers of chemicals are properly labeled either with the manufacturers or importers warning label or tagged or marked with the identity of the chemical therein and appropriate hazard warning.

13.5 All employees have been trained in the container labeling system used at their worksite and how to interpret the information on a MSDS.

13.6 At multi-employer worksites, procedures are established to inform other employers of the chemicals their employees may come in contact with, the labeling system used identify chemicals and MSDSs on chemicals present at the jobsite are interchanged.

**14.0 Safety Responsibilities:**

14.1 It is the desire of Management to protect employees from accidental injury and damage to health while working for our organization. At the management level, we are committed to provide a safe and healthy worksite. In return we expect you, the employee, to support the established safety policies and to cooperate fully with the procedures and practices which have been implemented to ensure everyone's safety.

14.2 Certain construction operations require the presence of a competent person. The construction section of the OSHA Act defines a competent person as one "...who is capable of identifying existing and predictable hazards in the surroundings or working conditions which are unsanitary, hazardous or dangerous to employees, and who has authorization to take prompt corrective measures to eliminate them."

14.3 important part of this definition is that the "competent person" must have the authority to take immediate action to take prompt corrective measures. The foreman is the person at the jobsite who has this authority. It is also the responsibility of everyone on the jobsite to inform the foreman of any hazardous conditions which exist. Everyone has the responsibility to maintain a safe work environment.

14.4 OSHA does not consider an individual competent until the individual, in addition to meeting the requirements of the definition, has been properly designated as a "competent person" by the employer. Wagner-Meinert, LLC has designated all foremen, servicemen, Superintendents, Journeyman, Apprentices, Project Managers, and our Safety Coordinator as “competent persons".

14.5 All of us, from the management on down, have a responsibility to safety. These responsibilities, outlined below, must be understood and supported by all employees in order for our safety program to be effective.

14.6 **Management**

14.6.1 Provide visible top management involvement in implementing and enforcing the company safety and health programs.

 14.6.2 Assign safety responsibilities to employees at all levels to ensure the responsibilities are understood and that essential tasks are performed.

 14.6.3 Establish safety rules and procedures designed to protect the employees and others associated with a project.

14.6.4 Communicate a clear goal for the safety and health program, and define objectives for meeting that goal as part of the management’s commitment to a safe and healthy workplace.

14.6.5 Commit the necessary personnel with enforcement authority and resources to ensure employee safety.

14.6.6 Discipline any employee disregarding the company safety procedures.

14.6.7 Conduct reviews on the effectiveness of the safety program to include job site inspections, record keeping procedures and to evaluate how well the goals and objectives are being met.

14.6.8 Encourage employee involvement in the review and updating of the company safety program to ensure their commitment and support for a safe work place.

14.6.9 Maintain a working knowledge of OSHA, EPA and IOSHA regulations and modify company safety polices to reflect those changes.

14.6.10 Hold monthly documented safety meetings to train employees on hazards which may arise in our workplace.

14.6.11 Clarify any areas of the company safety programs that are not clearly defined.

14.7 **Safety Director / Safety Committee**

14.7.1 A safety committee is employed who is responsible for implementing the company safety programs. WMI has designated a responsible individual for the Safety Director who will manage the following activities:

14.7.2 Provide to all levels of management the services and technical advice needed for proper administration of the Safety Program.

14.7.3 Establish procedures and guidelines for safety program(s) and update as necessary.

14.7.4 Maintain current knowledge of federal, state and local regulations and maintain outside professional contracts.

14.7.5 Be available regularly during pre-construction and construction for the purpose of inspection to determine compliance with OSHA regulations and project safety rules.

14.7.6 Review all accidents and injury reports and maintain accident information.

14.7.7 Make analysis of statistical data. Identify problem areas and make recommendations for solutions.

14.7.8 Coordinate safety training activities.

14.2.9 Prepare and distribute reports on the status of safety to executive management.

14.7.10 Recommend programs and activities that will develop and maintain incentives for, and motivation of employee safety.

14.7.11 Maintain technical guidelines and safety recommendations for special exposure situations.

14.7.12 Maintain written Hazard Communication Program for the company.

14.7.13 Ensures Material Safety Data Sheets (MSDSs) are received from the supplier and properly filed in the company MSDS binders and distributed to all remote binders.

14.7.14 Provides necessary MSDSs to each worksite according to chemicals used.

14.8 **Project Manager/Superintendent**

 14.8.1 Is familiar with safety regulations related to his area of responsibility.

 14.8.2 Plans work to ensure that the employees, materials, tools, and equipment are available to perform and work safely.

14.8.3 Notifies the Safety Director of any unusual or special safety or health hazards on the job.

14.8.4 Requires all subcontractors and subcontractors personnel to comply with applicable WMI safety regulations.

14.8.5 Directs and coordinates safety activities applicable to the project.

14.8.6 Assures that foremen are aware of and comply with requirements for safe practices and conditions to be maintained on jobsites.

14.8.7 Reviews all accidents with the foremen and Safety Coordinator, submit accident reports and ensure corrective action is taken to alleviate the cause.

14.8.8 Monitors employee safety training.

14.8.9 Assures required safety posters are available and posted at the jobsite.

14.8.10 Maintains Safety Data Sheets (SDSs) for all chemicals used on the jobsite and coordinates with other employers as to location and availability of their SDSs.

14.8.11 Insures that all weekly jobsite safety meeting notes are signed and returned to the office.

14.9 **Office**

14.9.1 Maintains all records of accidents that have taken place during company operations on forms designated by OSHA, insurance company and other authorized agencies.

14.9.2 Processes all paperwork associated with accidents, on site inspections and in-house audits. Maintains permanent record for company files.

14.9.3 Prepares all notices required by OSHA, State and other appropriate agencies for posing at each construction project location in accordance with designated time regulations. (Example: OSHA Form 300, Log and Summary of Occupational Injuries and Illnesses).

14.10 **Foreman**

14.10.1 Is familiar with and enforces established safety procedures applicable to company operations on the jobsite.

14.10.2 Instructs the workers to follow safe work practices.

14.10.3 Maintains safe conditions throughout the job.

14.10.4 Makes available the necessary personnel protective equipment, job safety materials and first aid supplies.

14.10.5 Assures that safety devices and proper protective equipment are used by persons under his supervision.

14.10.6 Develops a cooperative attitude toward safety by setting a good example.

14.10.7 Continuously watches for unsafe physical conditions and unsafe workers behavior and corrects immediately and files a weekly Job Safety checklist.

14.10.8 Assures that accidents and injuries are treated and reported properly.

14.10.9 Investigates all accidents, obtains all pertinent data, files a complete report, and initiates corrective action.

14.10.10 Maintains an effective, positive line of communication regarding safety matters to the workforce.

14.10.11 Conducts weekly jobsite safety and HAZCOM training classes.

14.10.12 Attends monthly safety meetings

14.10.13 Conducts jobsite safety inspections as necessary, and files inspection checklist and report to the office.

14.11 **All Employees**

14.11.1 Thoroughly understand the work to be done and the safety precautions that apply.

14.11.2 Report any unsafe condition, act or equipment to immediate supervisor/foreman. If the condition persists report it to the Safety Coordinator.

14.11.3 Use the required safety devices and proper personal protection safety equipment.

14.11.4 Works according to the company and project safety rules to avoid endangering themselves, fellow workers or the public.

14.11.5 Question any procedure believed to be unsafe. Always look at ways to improve safety.

14.11.6 Report all accidents and injuries to the supervisor/foreman immediately.

14.11.7 Assist in making the job as safe as possible.

14.11.8 Attend weekly jobsite safety meetings.

14.12 **Subcontractors**

14.12.1 The provisions of all safety responsibilities apply to sub-contractors and their employees working on projects for this company. Sub-contractors are to evaluated annual and before each pre-job start.

14.12.2 Report any unsafe condition or actions.

14.12.3 Inform project manager/superintendent of all injuries to subcontractor's employees.

14.12.4 Have available and provide copies, prior to the introduction of the materials to the jobsite, of Safety Data Sheets (SDS) for all materials/chemicals used on the jobsite that require a SDS.

14.12.5 Attend weekly jobsite safety meeting, hazard assessments, job meetings and safety orientations.

14.12.6 All sub-contractors safety programs, training, and their safety history will be considered when selecting sub-contractors.

**15.0 Environmental Programs**

Wagner-Meinert, LLC is committed to providing a quality service in a manner that ensures a safe and healthy workplace for our employees and minimizes our potential impact on the environment. We will operate in compliance with all relevant environmental legislation and we will strive to use pollution prevention and environmental best practices in all we do.

Our Policy therefore, is to :

15.1 Integrate the consideration of environmental concerns and impacts into our decision making and activities.

15.2 Minimize our waste and then reuse or recycle as much of it as is possible.

 15.2.1 In addition to other requirements specified herein it is a requirement for the work on all projects that the contractor(s) comply with the applicable federal, state and local waste disposal requirements.

 15.2.2 Of the inevitable waste that is generated, the waste materials designated in this specification shall be salvaged for reuse and or recycling where practical and possible. Waste disposal in landfills or incinerators shall be minimized where practical and possible. On new construction projects this means careful recycling of job site waste. On demolition projects this also means careful removal for salvage.

 15.2.3 Project Construction Documents: The General Contractor will contractually require all subcontractors to comply with these recycling guidelines. A copy of this “Construction Waste Management Plan” will accompany all subcontractor agreements and require subcontractor participation.

15.3 Minimize energy and water use within our buildings and processes in order to conserve supplies and minimize the consumption of natural resources.

15.4 As far as is possible, purchase products and services that do the least damage to the environment.

15.5 Train, educate and inform our employees about proper handling, organization, and storage of waste and scrap materials to minimize potential impact to the environment issues before work begins.

15.6 Promote environmental awareness among our employees and encourage them to work in an environmentally responsible manner to be made aware of the proper method to dispose of wastes.

15.7 Communicate our environmental commitment to clients, customers and the public and encourage them to support it.

15.8 Where required by legislation or where significant health, safety or environmental hazards exist, develop and maintain appropriate emergency and spill response programs.

**16.0 Written Programs**

15.1 Wagner-Meinert, LLC has established numerous written programs and policies in accordance with OSHA, EPA, and industry practices (IIAR). These policies are outlined in individually labeled sections (Index to Written Safety Program) of the Wagner-Meinert, LLC Written Safety Manual.

15.2 MSDS Binders are located in every gang box and service vehicle.

15.3 Written Safety Manuals are distributed to all pertinent employees. These manuals are available online at www.wagner-meinert.com.

15.4 Wagner-Meinert, LLC employees are given a brief safety test prior to the commencement of work. If an employee fails to pass this test (80%), they will be tutored by the foreman until the employee is discharged or successfully completes the test.

15.5 The use of recreation drugs is strictly prohibited. Any employee found to be under the influence of a recreational drug or alcohol, at the workplace will be subject to disciplinary actions per the enforcement policy.

**DOCUMENT MANAGEMENT:**

If after reading this program, you find that improvements can be made, please contact the Safety Director. We encourage all suggestions because we are committed to the success of our Asbestos Awareness Program. We strive for clear understanding, safe behavior, and involvement from every level of the company.

**CHANGE CONTROL:**

All management system changes are reviewed, approved or disapproved by the Safety Committee.

**PERSONNEL:**

The Owners of Wagner-Meinert, LLC have the ultimate responsibility for this Program. They have designated the Safety Director to manage the Asbestos Awareness Program.

| **Revision / Review History** |
| --- |
| **Revision** | **Date** | **Authorized By** | **Changes** |
| 1 | 9/11/2000 | Safety Director | New Program |
| 2 | 1/15/2001 | Safety Director | Annual Review |
| 3 | 1/10/2002 | Safety Director | Annual Review |
| 4 | 1/11/2003 | Safety Director | Annual Review |
| 5 | 1/15/2004 | Safety Director | Annual Review |
| 6 | 1/10/2005 | Safety Director | Annual Review |
| 7 | 6/27/2006 | Safety Director | Annual Review |
| 7 | 9/6/2007 | Safety Director | Annual Review |
| 7 | 8/23/2010 | Safety Director | Annual Review |
| 7 | 10/3/2012 | Safety Director | Annual Review |
| 7 | 11/10/2012 | Safety Director | Annual Review |
| 7 | 9/25/2013 | Safety Director | Annual Review |
| 8 | 5/11/2016 | Safety Director | Annual Review-Updated and new format |
| 8 | 6/26/2017 | Safety Director | Annual Review |
| 8 | 5/22/2018 | Safety Director | Annual Review |
| 8 | 6/7/2019 | Safety Director | Annual Review |